Village of Englefeld

Bylaw No. 2012-02
A BYLAW TO REGULATE OPEN OUTDOOR FIRES
The Council of the Village of Englefeld of Englefeld in the Province of Saskatchewan enacts as follows:

1.  This Bylaw may be cited as the “open outdoor fire bylaw”.


2.  In this Bylaw:


1)  “CAO” shall mean the chief administrative officer of the municipality;



2)  “Council” shall mean the council of the municipality;



3)  “Department” shall mean the Englefeld Volunteer Fire Department;

4)  “Fire Chief” shall mean the chief of the Englefeld Volunteer Fire

 Department or his designate;

5)  “Member” means a person appointed as a Fire Chief by Council or a member of the Fire Department approved by the Fire Chief;



6)  “Municipality” shall mean the Village of Englefeld.


3.  Exemptions to Burning Regulations

Notwithstanding any other provision of this bylaw, the Fire Chief or any other member designated by the Fire Chief may burn buildings, structures, or other materials for the purpose of training its personnel in structural fire fighting methods, fire investigation procedures, for the purpose of elimination of hazards or any other municipal purposes.


4.  Fire pits

1)  Open cooking fires shall not be set unless the following measures are taken:

a.  be limited to a diameter of twenty nine (29)  inches, and be contained in a non- combustible receptacle constructed of cement, brick, clay (kiln dried), or sheet metal with a minimum 18 gauge thickness;

b.  the receptacle must be covered with a heavy gauge metal screen;

c.  the receptacle must be located on private property, a distance of at least ten (10) feet  from any property line, building or other combustible structure;

d.  the receptacle must be separated from grass and any other vegetation by a distance of at least sixteen (16) inches by means of clean earth, sand, gravel or other non-combustible material.



2)  Chimney and portable fire pits:




a.  shall not be used indoors;




b.  shall not be used on wooden decks; 

c.  shall be separated from grass and any vegetation by a distance of at least sixteen (16)  inches by means of clean earth, sand, gravel or other noncombustible material;

d.  shall be located on private property a distance of at least ten (10) feet from any property line, building or other combustible structure.



3)  General Requirements:

a.  The fire must be reasonably supervised so as to prevent its spread.
b.  The fuel for open-air fires shall consist only of charcoal, cut seasoned wood, or manufacturer’s logs.

c.  The fire shall be adequately ventilated to ensure proper combustion and to prevent an unreasonable accumulation of smoke.

d.  The fire shall not be set in windy conditions conductive to creating a running fire or a nuisance to another person.




e.  The burning of the following materials is prohibited:





i.    rubbish;





ii.   garden refuse;





iii.  manure;





iv.  livestock or animal carcasses;





v.   any material classified as a dangerous good;

vi.  any material when burned will generate black smoke or an offensive odor.  (i.e. insulation from electrical wiring or equipment, asphalt roofing materials, hydrocarbons, plastics, rubber materials, creosote wood)




f.  Burning for land clearing purposes is prohibited.

5.  Contravention of the Bylaw

Every person who contravenes any provision of this Bylaw for which no other penalty is specifically provided for in this bylaw is guilty of an offence and liable on summary conviction to a fine:




a.  for the first offence, of $100.00;




b.  for the second offence, of $200.00;

c.  for a third or subsequent offence, of not less than $200.00 and not more than as specified in the “General Penalty Bylaw”.

6.  Any previous bylaws pertaining to open fires are hereby repealed.

7.  Coming into Force

This bylaw shall come into force and take effect on the day of its final passing.

_________________________________

Mayor

{Seal}

_________________________________

Administrator

Read a third time and adopted

This ____day of___________.

